**HYDRAULIC SERVICES WITNESS TESTING**

**Low Hazard Area**

**HCAA-006 – Backflow Devices Commissioning Sheet**

V2021.01 - April 2021

**GENERAL NOTES:** *This form is to be used for the purpose of witness testing a hydraulic installation by* ***a suitably Qualified Hydraulic Consultant****. Completion of all applicable sections is required. This form should be filed to the relevant project folder within 10 business days after witnessing has occurred.*

*Notes: This series of Hydraulic Testing Procedures have been designed to assist the Hydraulic Services Consultant to carry out suitable witness testing at the end of a project. Each set of procedures details an industry accepted, list of objectives, that the Hydraulic Services Consultant should carry out to fulfil their design commission. The series of procedures will offer the client security in the knowledge that the objectives identified have been based on an Industry standard, endorsed by the HCAA (National), which represents the Professional Industry of Hydraulic Services Consultants.*

|  |  |  |  |
| --- | --- | --- | --- |
| Project: |  | Project Number: |  |
| Prepared By: |  | **Report Date:** |  |
| Plumbing Company: |  | **Consulting Company:** |  |
| Plumbers Name: |  | **Consultant’s name:** |  |
| Plumbers license number |  | **Consultant’s certification n**umber: |  |
| Date of Test/Inspection: |  | **Drawing Revision**: |  |
| Equipment | | | |
| Backflow Test Kit Serial Number |  | Backflow Test Kit Verification Date: |  |
| Flow and Pressure Test Kit Serial Number: |  | Flow and Pressure Test Kit Verification Date: |  |

|  |  |
| --- | --- |
| The hydraulic services elements of the Project have been tested in accordance with: | |
| Number | **Title** |
| NCC Volume 1 | Building Code of Australia 2019 |
| PCA 2019 | Plumbing Code of Australia 2019 |
| AS/NZS 3500.1-2018 | Plumbing and Drainage -Part 1: Water services |

|  |  |  |
| --- | --- | --- |
| Plumbers Declaration | I hereby state that that the information provided in this form is a true and accurate record. | |
| **Signature:** | **Date:** |
| Consultants Declaration | I hereby state that that the information provided in this form is a true and accurate record. | |
| **Signature:** | **Date:** |

**The hydraulic services being tested and recorded in this document are:**

|  |  |
| --- | --- |
| Yes | No |
| 1. Backflow prevention valve – Boundary (*Containment*) |  |  |
| 1. Backflow prevention valve – Zone |  |  |
| 1. Backflow prevention valve – Individual |  |  |

1. **Backflow Prevention Valve – Boundary** (*Containment*)

|  |  |
| --- | --- |
| Yes | No |
| Location Correct? |  |  |

1. **Backflow Prevention Valves - Zone**

|  |  |
| --- | --- |
| Yes | No |
| Location Correct? |  |  |

1. **Backflow Prevention Valves - Individual**

|  |  |
| --- | --- |
| Yes | No |
| Location Correct? |  |  |

## **Tools Needed**

* Your Eyes

## **Documents Needed**

* Drawings that identify the fixtures that the backflow prevention device should service.

## **Objective**

* To identify that the appropriate valve has been installed, sits comfortably.

## **Performance requirements**

* Prevent backflow.

## **Commissioning Process:**

* Any cross connections YES/NO

|  |  |  |
| --- | --- | --- |
| Testing in accordance with AS 2845.3:2010 | Pass | Fail |
| Appendix H: Single check valve testable device |  |  |
| Appendix I: Single check-valve detector assemblies |  |  |

**Installation Summary***(Duplicate page as required)*

* Valve no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_
* Room no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| Answer |
| Type of Protection (*Boundary/Zone/Individual*) | Boundary / Zone / Individual |
| Device Type and Size | mm |
| Location |  |

* Valve no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_
* Room no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| Answer |
| Type of Protection (*Boundary/Zone/Individual*) | Boundary / Zone / Individual |
| Device Type and Size | mm |
| Location |  |

* Valve no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_
* Room no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| Answer |
| Type of Protection (*Boundary/Zone/Individual*) | Boundary / Zone / Individual |
| Device Type and Size | mm |
| Location |  |

* Valve no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_
* Room no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| Answer |
| Type of Protection (*Boundary/Zone/Individual*) | Boundary / Zone / Individual |
| Device Type and Size | mm |
| Location |  |

* Valve no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_
* Room no: ­­\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |
| --- |
| Answer |
| Type of Protection (*Boundary/Zone/Individual*) | Boundary / Zone / Individual |
| Device Type and Size | mm |
| Location |  |